## Readme
VAHTS Library Quantification Kit for Illumina 2.0
Data Analysis Template V24.1
This spreadsheet is designed for the analysis of NGS library quantification data generated with the VAHTS Library Quantification Kit for Illumina 2.0.
Two sets of worksheets are provided. The first sheet in each set is used for data analysis, whereas the second sheet provides a summary of the calculated
concentrations for all libraries that were analysis.
This sheet can also be used to calculate the yield of each quantified library by entering the library volumes in the designated column.
Each set of sheets is configured for a different number of libraries and libraries dilutions:
- Use the 1 dilution set if only one dilution of each library was assayed. The sheet provideds for a maximum of 96 samples.
- Use the 2 dilution set if only one dilution of each library was assayed. The sheet provideds for a maximum of 48 samples.
Unused rows may be deleted once the analysis has been complete.
Data analysis consists of three parts:
1. Review CT values for the six DNA Standards, to evaluate the reliability of the data:
- Paste the CT values for each replicate of each DNA Standard into column F of the table in Section 1.
- If the CT value for any replicate varies by more than +/- 0.2 of a cycle from the other value(s) (as calculated in column I), that replicate should be regarded as an outlier, and moved to column G. If a value is designated an outlier, delete the formula in the corresponding row of column I. The difference of 0.2 cycles is arbitrary and instrument-dependent. When deciding on what to classify as an outlier, keep in mind that 1 cycle represents a 2-fold difference in concentration.
regarded as an outlier, and moved to column G. If a value is designated an outlier, delete the formula in the corresponding row of column I.
The difference of 0.2 cycles is arbitrary and instrument-dependent. When deciding on what to classify as an outlier, keep in mind that 1 cycle
representsa 2-fold difference in concentration.
- The average CT value for each DNA Standard should be ~3.3 cycles later than the DNA Standard that is 10-fold more concentrated (between 3.2
and 3.45 is very good, whereas 3.1 - 3.6 is acceptable). If the spacing between any two standards is less than 3.1 cycles and more than 3.6 cycles,
the corresponding △CT cell in column J will change to red. One or more red Delta CT cells are an indication of unacceptable experimental
variation. The assay will most likely not yield reliable library concentrations, and should be repeated. Please refer to the Manual_NQ107 V24.2
for detailed discussions related to experimental factors that can affect the reliability of the assay.
- The △CT between no template control (NTC) reactions and DNA Standard 6 should preferably be ≥3 cycles.
2. Generate and review the standard curve and reaction efficiency:
- In Section 2, the data from Section 1 is used to generate the standard curve and calculate the amplification efficiency for the six DNA Standards.
The slope and intercept from the graph must be typed into the blue cells (D55 and D57, respectively), as these values are used in library
concentration calculations in Section 3.
- At least one and a maximum of two DNA Standards may be omitted from the standard curve (if CT values for those Standards are deemed to be
unreliable). When omitting DNA Standards from the curve, remember that the curve may not be extrapolated, and concentrations of libraries with an
average CT value outside of the range of the (modified) standard curve may not be calculated.
3. Calculate library concentrations:
- In Section 3, the slope and intercept of the standard curve is used to calculate the concentrations of library samples.
- If more than one dilution of a library was assayed, the △CT column may be used to assess whether calculated concentrations are likely to be reliable.
For example, if the △CT for consecutive 2-fold dilutions falls outside the range of 0.9 - 1.1 cycles, it is an indication that serial dilutions were not made
with a high degree of accuracy, and that calculated concentrations may be unreliable as a result.
- If more than one dilution of a library was assayed, the % Deviation column may be used to determine the working concentration of the ibrary.
If the library concentrations calculated from multiple dilutions falls within 10% from one another, use the average of the concentrations.
If the calculated concentrations differ by more than 10%, use the average concentration from the dilutions that are deemed (most) reliable.
Calculated library concentrations are exported to the table in the Summary sheet following the Analysis sheet.
The amount of each library available for the next step in your workflow may be calculated by inserting library volumes in the designated column.

## 1 dilution - Analysis
Section 1. Review CT values for DNA Standards
- Enter the appropriate information into the fields highlighted in blue.
- Move "outliers" to column G (so these are no longer is used in calculations).
- The average CT value for each DNA Standard should be ~3.3 cycles later than the DNA Standard that is 10-fold more concentrated (between 3.2 and 3.45 is
very good and 3.1 - 3.6 is acceptable).
- If the spacing between any two standards is less than 3.1 cycles and more than 3.6 cycles, those data points (and any library samples falling between those
data points) are not highly reliable.
Well | Std # | Con (pM) | CT | Outliers | Av CT | Difference | △CT
| 1 | 20 |  |  | #DIV/0! | #DIV/0! | -
| 1 | 20 |  |  |  | #DIV/0!
| 1 | 20 |  |  |  | #DIV/0! | #DIV/0!
| 2 | 2 |  |  | #DIV/0! | #DIV/0!
| 2 | 2 |  |  |  | #DIV/0!
| 2 | 2 |  |  |  | #DIV/0! | #DIV/0!
| 3 | 0.2 |  |  | #DIV/0! | #DIV/0!
| 3 | 0.2 |  |  |  | #DIV/0!
| 3 | 0.2 |  |  |  | #DIV/0! | #DIV/0!
| 4 | 0.02 |  |  | #DIV/0! | #DIV/0!
| 4 | 0.02 |  |  |  | #DIV/0!
| 4 | 0.02 |  |  |  | #DIV/0! | #DIV/0!
| 5 | 0.002 |  |  | #DIV/0! | #DIV/0!
| 5 | 0.002 |  |  |  | #DIV/0!
| 5 | 0.002 |  |  |  | #DIV/0! | #DIV/0!
| 6 | 0.0002 |  |  | #DIV/0! | #DIV/0!
| 6 | 0.0002 |  |  |  | #DIV/0!
| 6 | 0.0002 |  |  |  | #DIV/0! | #DIV/0!
| NTC | - |  |  | #DIV/0!
| NTC | -
| NTC | -
Section 2. Generate and review the standard curve
- Type the value for the intercept from the graph to the right into cell D55
- Type the value for the slope from the graph to the right into cell D57
DNA Standard | Conc in pM | Log conc | Average CT | △CT
1 | 20 | 1.301 | #DIV/0! | -
2 | 2 | 0.30103 | #DIV/0! | #DIV/0! | △CT Should be between 3.1 and 3.6
3 | 0.2 | -0.69897 | #DIV/0! | #DIV/0!
4 | 0.02 | -1.699 | #DIV/0! | #DIV/0!
5 | 0.002 | -2.699 | #DIV/0! | #DIV/0!
6 | 0.0002 | -3.699 | #DIV/0! | #DIV/0!
Efficiency: | #DIV/0! | (Calculated) | Should be between 90 and 110%
Slope: | #DIV/0! | (Calculated) | Value must be the same as on the graph
R-squared: | #DIV/0! | (Calculated) | Should be between 0.99 and 1.00
Intercept: |  | obtain data from graph
If slope = |  | obtain data from graph
then efficiency = | #DIV/0! | (Calculated) | Value must be the same as in cell D52
Note: it is important to type the appropriate values from the straight line equation into the two blue blocks, as the table in Section 3 uses these two values to calculate the concentration of the library samples.
Section 3. Calculate and review library concentrations
- Sort the data for your library samples by grouping the Cq values for different dilutions of the same sample together. Enter the appropriate information into the fields highlighted in blue (Columns C - G).
- Move the outliers to Column H, so these are no longer is used in calculations. If you move a CT value (outlier) from column F to H, you have to delete the formula in column J of that row.
If the average CT value for a library < than the average CT value for Std 1, or > than the average CT value for Std 6, the data from that dilution may not be used in calculations (i.e. you may not extrapolate).
If only one dilution of each library was assayed, the library has to requantified using a more appropriate dilution.
Library # | Sample name | Dilutions | CT | Average fragment length (bp) | Outliers/ outside curve | Average CT | Difference | Log (concentration) | Average concentration (pM) | Size-adjusted concentration (pM) | Concentration of undiluted library (pM) | Concentration of undiluted library (nM) | Concentration of undiluted library (ng/µL)
1 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
2 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
3 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
4 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
5 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
6 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
7 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
8 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
9 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
10 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
11 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
12 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
13 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
14 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
15 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
16 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
17 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
18 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
19 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
20 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
21 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
22 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
23 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
24 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
25 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
26 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
27 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
28 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
29 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
30 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
31 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
32 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
33 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
34 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
35 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
36 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
37 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
38 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
39 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
40 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
41 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
42 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
43 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
44 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
45 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
46 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
47 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
48 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
49 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
50 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
51 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
52 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
53 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
54 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
55 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
56 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
57 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
58 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
59 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
60 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
61 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
62 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
63 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
64 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
65 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
66 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
67 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
68 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
69 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
70 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
71 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
72 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
73 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
74 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
75 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
76 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
77 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
78 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
79 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
80 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
81 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
82 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
83 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
84 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
85 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
86 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
87 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
88 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
89 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
90 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
91 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
92 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
93 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
94 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
95 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
96 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!

## 1 dilution - Summary
Library concentrations and yields
Sample name | Concentration of undiluted library (pM) | Concentration of undiluted library (nM) | Concentration of undiluted library (ng/µL) | Library volume (µL) | Available amount of library (ng)
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!

## 2 dilution - Analysis
Section 1. Review CT values for DNA Standards
- Enter the appropriate information into the fields highlighted in blue.
- Move "outliers" to column G (so these are no longer is used in calculations).
- The average CT value for each DNA Standard should be ~3.3 cycles later than the DNA Standard that is 10-fold more concentrated (between 3.2 and 3.45 is
very good and 3.1 - 3.6 is acceptable).
- If the spacing between any two standards is less than 3.1 cycles and more than 3.6 cycles, those data points (and any library samples falling between those
data points) are not highly reliable.
Well | Std # | Con (pM) | CT | Outliers | Av CT | Difference | △CT
| 1 | 20 |  |  | #DIV/0! | #VALUE! | -
| 1 | 20 |  |  |  | #VALUE!
| 1 | 20 |  |  |  | #VALUE! | #DIV/0!
| 2 | 2 |  |  | #DIV/0! | 0
| 2 | 2 |  |  |  | 0
| 2 | 2 |  |  |  | 0 | #DIV/0!
| 3 | 0.2 |  |  | #DIV/0! | 0
| 3 | 0.2 |  |  |  | 0
| 3 | 0.2 |  |  |  | 0 | #DIV/0!
| 4 | 0.02 |  |  | #DIV/0! | 0
| 4 | 0.02 |  |  |  | 0
| 4 | 0.02 |  |  |  | 0 | #DIV/0!
| 5 | 0.002 |  |  | #DIV/0! | 0
| 5 | 0.002 |  |  |  | 0
| 5 | 0.002 |  |  |  | 0 | #DIV/0!
| 6 | 0.0002 |  |  | #DIV/0! | 0
| 6 | 0.0002 |  |  |  | 0
| 6 | 0.0002 |  |  |  | 0 | #DIV/0!
| NTC | - |  |  | #DIV/0!
| NTC | -
| NTC | -
Section 2. Generate and review the standard curve
- Type the value for the intercept from the graph to the right into cell D55
- Type the value for the slope from the graph to the right into cell D57
DNA Standard | Conc in pM | Log conc | Average CT | △CT
1 | 20 | 1.301 | #DIV/0! | -
2 | 2 | 0.30103 | #DIV/0! | #DIV/0! | △CT Should be between 3.1 and 3.6
3 | 0.2 | -0.69897 | #DIV/0! | #DIV/0!
4 | 0.02 | -1.699 | #DIV/0! | #DIV/0!
5 | 0.002 | -2.699 | #DIV/0! | #DIV/0!
6 | 0.0002 | -3.699 | #DIV/0! | #DIV/0!
效率: | #DIV/0! | (Calculated) | Should be between 90 and 110%
斜率: | #DIV/0! | (Calculated) | Value must be the same as on the graph
R2: | #DIV/0! | (Calculated) | Should be between 0.99 and 1.00
截距: |  | obtain data from graph
如果斜率 = |  | obtain data from graph
那么效率 = | #DIV/0! | (Calculated) | Value must be the same as in cell D52
Note: it is important to type the appropriate values from the straight line equation into the two blue blocks, as the table in Section 3 uses these two values to calculate the concentration of the library samples.
Section 3. Calculate and review library concentrations
- Sort the data for your library samples by grouping the Cq values for different dilutions of the same sample together. Enter the appropriate information into the fields highlighted in blue (Columns C - G).
- Move the outliers to Column H, so these are no longer is used in calculations. If you move a CT value (outlier) from column F to H, you have to delete the formula in column J of that row.
If the average CT value for a library < than the average CT value for Std 1, or > than the average CT value for Std 6, the data from that dilution may not be used in calculations (i.e. you may not extrapolate).
If only one dilution of each library was assayed, the library has to requantified using a more appropriate dilution.
Library # | Sample name | Dilutions | CT | Average fragment length (bp) | Outliers/ outside curve | Average CT | Difference | △CT | Log (concentration) | Average concentration (pM) | Size-adjusted concentration (pM) | Concentration of undiluted library (pM) | Concentration of undiluted library (nM) | Concentration of undiluted library (ng/µL) | % Deviation | Working concentration (pM) | Working concentration (nM) | Working concentration (ng/µL)
1 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
2 |  |  |  |  | ` | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
3 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
4 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
5 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
6 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
7 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
8 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
9 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
10 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
11 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
12 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
13 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
14 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
15 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
16 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
17 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
18 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
19 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
20 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
21 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
22 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
23 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
24 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
25 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
26 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
27 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
28 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
29 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
30 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
31 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
32 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
33 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
34 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
35 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
36 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
37 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
38 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
39 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
40 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
41 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
42 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
43 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
44 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
45 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
46 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
47 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
48 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#DIV/0!

## 2 dilution - Summary
文库浓度和产量
Sample name | Concentration of undiluted library (pM) | Concentration of undiluted library (nM) | Concentration of undiluted library (ng/µL) | Library volume (µL) | Available amount of library (ng)
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!
0 | #DIV/0! | #DIV/0! | #DIV/0! | 20 | #DIV/0!